## Sheet1
Republic of the Philippines
SULTAN KUDARAT WATER DISTRICT
Cor. Bonifacio St., & Quirino Ave., Tacurong City
Tel #s.(064)-200-5072
Main-Office | [8 empty] | Add and Update Data
Add and Update Data With Formula
MONTHLY PRODUCTION DATA (TACURONG AREA) | [8 empty] | With Formula
PRODUCTION SECTION | [8 empty] | Automatic Date saving
PS1 |  |  |  | SYSTEM
Capacity, Cu.M./Mo. |  | 32 | 51840 | ADD | EDIT | UPDATE | DELETE
Hour meter (Hr.) | Present | 21407.35 |  | Capable to create admin and user's username and password
Submersible pump | Previous | 20958.18
| Total | 449.17 |  |  | Username
Pasword
Hour meter(Hr) | Present | 13 |  |  | Fullname
Booster pump | Previous | 5
| Total | 8 |  | ADMIN PART
|  |  |  | ADD | EDIT | UPDATE | DELETE
Flowmeter- | Present | 2702417.4 |  | Create Area for example, Tacurong, Isulan Esperanza.Together connected to its Pump Station
Discharge-Q(Cu.M) | Previous | 2646455.9 |  |  | Example:
Vol. of H2O Pumped | Total | 55961.5 |  |  |  | Add Pump Station
[6 empty] | Tacurong Area |  | Isulan Area | Tacurong Area
Flush out | hrs | 1 | 1 |  |  | Pump Station No.1 |  | Pump Station No.4 | Pump Station No.6
| min | 2 | 0.033333 |  |  | Pump Station No.2 |  | Pump Station No.5
| sec | 3 | 0.00083333 |  |  | Pump Station No.3
| Total |  | 1.0342 | Admin could manage data manipulation
Vol. of H2O flushed out | 124.5887 | 128.8455
Backwashing | hrs | 2 | 2 | USER PART
| min | 3 | 0.05 | ADD
| sec | 4 | 0.0011111 | User only could add data. After saving they are no longer capable to manipulate otherwise they could only view therye report.
| Total |  | 2.0511
Vol. of H2O Used | 124.5887 | 900.2
Flowmeter-Q(Cu.m) | Present | 2360572.2
(Booster pump) | Previous | 2246270
| Total | 114302.2
0 0
Flush out | hrs | 50 | 50
| min | 30 | 0.5
| sec | 5 | 0.0013889
| Total |  | 50.5014
Vol. of H2O flushed out | 0.001 | 0.050501
Backwashing | hrs | 0 | 0
| min | 0 | 0
| sec | 0 | 0
| Total |  | 0
Vol. of H2O Used | 0.001 | 0
Genset hour meter (hr)
LOAD | hrs | 4 | 4
| min | 49 | 0.81667
4.8167
WARM-UP | HRS | 0 | 0
| MIN | 62 | 1.0333
1.0333
Over all total of load & warm-up |  | (hrs) | 5.85
Date today